Top2 RC antenna for wall installation (top2 RC antenna)
	
Antenna for DCF 77 radio signal; up to 5 devices can be connected; housing for wall installation IP 54

Installation and start up

Make: Theben

Type: top2 RC antenna
Order No.: 9070410

Unit: ST

