Theben AG, Juli 2018

**Technische Information**

Neue Firmware Updates

Für die unten aufgeführten Produkte sind Firmware Updates verfügbar. Diese Updates verbessern die Langzeitstabilität der entsprechenden Applikationen.

Wir empfehlen, dass die Planung und Ausführung neuer Projekte, stets mit aktueller Applikation und aktueller Firmware ausgeführt wird.

Ebenso empfehlen wir, dass in bestehenden Installationen die Geräte bei nächster Gelegenheit mit den neusten Firmware Updates aktualisiert werden.

Mit der Theben IP Tool Software kann überprüft werden, ob für das Gerät ein Update bereitsteht.

|  |  |  |  |
| --- | --- | --- | --- |
| **Produkt Typ** | **Neue Firmware Version** | **Bereits enthalten bei Geräten ab** | **Update Methode** |
| IP-Router KNX - IP/R 9070980 | V2.0.493 | Woche 32/2018  (Herstellcode 1832) | mit Theben IP Tool Software (V1.9.31.0 oder höher) |
| IP-Interface KNX - IP/I 9070981 | V1.0.494 | Woche 32/2018  (Herstellcode 1832) | mit Theben IP Tool Software (V1.9.31.0 oder höher) |

**Technical Information**

New Firmware Updates

In a continued effort to ensure the highest security and reliability of the Theben KNX product portfolio, we wish to inform you of new firmware updates being made available for products using the latest KNX / IP hardware platforms (Please refer to the table below). Minor changes have been made in the firmware to improve operational performance and the long term stability of the application.

As with all updates, we recommend that the planning and commission of new projects always be carried out using the latest application and firmware releases. We also recommended that in existing installations the components concerned be updated at the next opportunity, for example, during regular maintenance or when other work is being carried out in the installation.

To verify if an update is required, the present application / firmware version contained within a device can easily be identified using the Theben IP Tool Software.

|  |  |  |  |
| --- | --- | --- | --- |
| **Product Type** | **New Firmware Version** | **Pre-loaded from production week** | **Update method** |
| IP-Router KNX - IP/R 9070980 | V2.0.493 | week 32/2018  (Manufacturer code 1832) | via Theben IP Tool Software (V1.9.31.0 or later) |
| IP-Interface KNX - IP/I 9070981 | V1.0.494 | week 32/2018  (Manufacturer code 1832) | via Theben IP Tool Software (V1.9.31.0 or later) |