Living comfort control unit, dimming module, 2 channels (LUXOR 405 dimming module)
2 channel dimming module; upgrade module LUXOR 405; rail mounted housing (4 TE); quick fastening; width 72 mm; 2 wire COM interface; stand alone function; 2 sensor inputs; 2 motion sensor inputs; scene inputs for 3 light scenes; each with 4 program settings for dimming response; C1: universal dimmer, 300 W/VA; C2: universal dimmer, 300 W/VA; C1 + C2: universal dimmer 500 W/VA; manual switch; LED display of input/output signals; overcurrent display; operating voltage 230V~; 50 Hz.
Deliver, assemble, connect up and set up
...

Make: Theben
Type: LUXOR 405 dimming module
Order No.: 4050000
Unit: ST
