Installation set for rail mounted devices 3 TLE (installation set (TR 651 S))
	
Installation set for rail mounted devices with terminal cover; sealable; 3 TLE

Deliver, assemble, connect up and set up
...

Make: Theben

Type: Installation set (TR 651 S)
Order No.: 9070050

Unit: ST

