Immersed sensor, diameter 6 mm (immersed sensor)
	
Immersed sensor suitable for RAM 855; diameter 6mm

Deliver, assemble, connect up and set up
...

Make: Theben

Type: Immersed sensor
Order No.: 9070379

Unit: ST

