Immersed sensor, diameter 6 mm (immersed sensor)

Immersed sensor suitable for RAM 855; diameter 6mm

Deliver, assemble, connect up and set up

...

Make: Theben

Type: Immersed sensor

Order No.: 9070379

Unit: ST